## Infra-II
Approved Vendor List for Infra Plan Part-II scheme
Sr.No | Name | item | Approval No.
1 | M/s Chandresh Cable Ltd | PVC armoured control cable7C x 2.5 Sq.mm,4C x 4 sq.mm ,LT XLPE armoured cable 2C x 4 Sq.mm,3.5C x 50,95,120 Sq.mm & 1C x 95,120,240,300 Sq.mm | CE(Infra)/EE-I/GTP/Vendor Approval/31770 Dt. 20.10.2014
4 | M/s Popular Switchgear P. Ltd. | Vendor GTP,Drawing Approval to M/s Popular Switchgear P. Ltd for supply of 22kV Control & Relay Panel(Indoor Type) for Transformer with differential protection & without differential protection for feeder | CE(Infra)/EE –I/GTP/32065 DT. 22.10.2014
5 | M/s Popular Switchgear P. Ltd. | 33kV Control & Relay Panel(Indoor Type) for Transformer with differential protection & without differential protection for feeder without meter | CE(Infra)/EE –I/GTP/ 32256 Dt. 28.10.2014
6 | M/s Ravin Cables Ltd | 11 KV and 22 KV XLPE cable (3 c x 300 sq.mm) | CE(Infra)/EE –I/GTP/33189 Dt. 07.11.2014
7 | M/s Frontier Technologies Ltd | 6.5/11kV Heat Shrinkable Indoor & Outdoor termination & Straight Through Joints for 3C XLPE cable (95 to 300 sq.mm) | CE(Infra)/EE-I/Vendor Approval/33919 Dt. 15.11.2014
8 | M/s Chandresh Cable Ltd | LT XLPE 3.5C x 185,240 & 300 Sq.mm & 1C 70 Sq.mm | CE(Infra)/EE-I/Vendor Approval/35076 Dt. 27.11.2014
9 | M/s.Ultracabs (India) Pvt. Ltd. | LT PVC Armoured Cable 2C x 4 sq.mm & LT XLPE Armoured Cable 3.5C x 50,70,95,120,185,240,300 sq.mm | CE/Infra Plan/ EE-I/ GTP/ 34006 Dt. 17.11.2014
10 | M/s Ravin Cable Ltd | 33 KV HT XLPE cable (3 C x 300 sq.mm) , LT A.B. Cable (3 x 120 sq.mm) , LT PVC Cable 3.5C x 35,50 sq.mm & PVC control cable 2C x 4 sq.mm | CE(Infra)/EE –I/GTP/ 38062 Dt. 23.12.2014
11 | M/s Stelmec Ltd | 11kV Control & Relay Panel for 11kV 1.2MVAR Capacitor Bank | CE(Infra)/EE-I/GTP/01847 Dt. 19.01.2015
13 | M/s Vinayak Transmission P. Ltd. | 22kV Control & Relay Panel(Outdoor Type) for Incoming & Outgoing feeder with meter | CE(Infra)/EE –I/GTP/03597 Dt. 04.02.2015
14 | M/s C & S Electric Ltd | 11kV RMU | CE(Infra)/EE-I/GTP/160/5155 Dt. 20.02.2015
15 | M/s Stelmec Ltd | 11kV Indication Panel | CE(Infra)/EE-I/GTP/7175 Dt. 12.03.2015
16 | M/s Stelmec Ltd | 12kV Outdoor VCB (12kV,1250A,25KA | CE(Infra)/EE-I/GTP/7176 Dt. 12.03.2015
17 | M/s Maktel Control & Systems P. Ltd. | 33kV C & R Panels (Indoor type) for transformer with differential protection & without differential protection and C & R Panel for Feeder with Trivector meter | CE(Infra)/EE –I/GTP/7174 Dt. 12.03.2015
18 | M/s Stelmec Ltd. | 22kV Control & Relay Panel for 22kV 1.2MVAR Capacitor Bank | CE(Infra)/EE –I/GTP/7993 Dt. 18.03.2015
19 | M/s Maruti Wires & Cables Industries | LT XLPE armoured 3.5C x 50,70,95,120 1C x70 ,120 sq.mm & LT PVC copper cable 2C x 2.5 ,4C x 2.5 sq.mm | CE(Infra)/EE-I/Vendor Approval/ 20625 Dt. 22.04.2015
20 | M/S. Venelec Electromech Pvt. Ltd | 11/6.5kV Heat Shrinkable Indoor & Outdoor termination & Straight Through Joints | CE(Infra)/EE-I/Vendor Approval/ 20623 Dt. 22.04.2015
21 | M/s. Chandresh Cable Ltd | LT XLPE armoured 3.5C x 70 sq.mm | CE(Infra)/EE-I/Vendor Approval/ 20585 21.04.2015
22 | M/s Topline Industries (Raj) Unit-II | 11kV & 22kV AB Switch and HG Fuse | CE(Infra)/EE –I/GTP/ 10835 Dt. 15.04.2015
23 | M/s Topline Industries (Raj) Unit-II | 11KV (400A),22KV& 3KV 800 A Isolators | CE(Infra)/EE –I/GTP/ 21727 Dt. 11.05.2015
24 | M/s Goyolene Fibres (India) Pvt.Limited | LT PVC unarmooured / armoured cable copper control cables of sizes 19C x 2.5,12C x 2.5,7C x 2.5,4Cx2.5,4C x 4,2C x 2.5,2C x 4 sq.mm &LT PVC unarmooured / armoured cable aluminum control cables of size 2C x 16 sq.mm | CE(Infra)/EE –I/GTP/ 21470 Dt. 07.05.2015
25 | M/s Goyolene Fibres (India) Pvt.Limited | of LT XLPE Aluminum unarmooured cable of sizes 1Cx16,35,70,95,120,185,300 sqmm , LT XLPE armoured cable of sizes 1Cx16,35,70,95,120,185,300 sqmm ,2C x 16 &50 sqmm,4C x 16 sqmm ,3.5C x35,50,70,95,185 & 300 LT PVC Aluminum unarmooured / armoured cable of sizes 3.5C x 35,50,70,120,185,240 & 300sq.mm | CE(Infra)/EE –I/GTP/ 22513 Dt. 20.05.2015
26 | M/s C&S Electric Ltd | 22kV,1600A Indoor VCB Panel | CE(Infra)/EE –I/Infra-II/ GTP/21987 Dt.13.05.2015
28 | M/s C&S Electric Ltd | 22kV RMU | CE(Infra)/EE –I/GTP/21988 Dt. 13.05.2015
29 | M/s ABB India Ltd | 33kV ,1600A, 25kA Outdoor Type Vacuum Circuit Breaker | CE(Infra)/EE –I/GTP/10682 Dt. 10.04.2015
30 | M/s Popular Switchgear P. Ltd | 33kV,1600A, 25kA Indoor Type Vaccum Circuit Breaker | CE(Infra)/EE –I/GTP/ 10725 Dt. 11.05.2015
31 | M/s Popular Switchgear P. Ltd | 11kV,25kA VCB Indoor Switch Board Panel (2 I/C +1 B/C+ 8 O/G) & 11kV Control Desk (2 I/C +1 B/C+ 8 O/G) | CE(Infra)/EE –I/GTP/ 21726 Dt. 11.05.2015
32 | M/s Popular Switchgear P. Ltd | 22kV, 25kA VCB Indoor Switch Board Panel (2 I/C +1 B/C+ 6O/G) & 22kV Control Desk (2 I/C +1 B/C+ 6O/G) | CE(Infra)/EE –I/GTP/ 21724 Dt. 11.05.2015
33 | M/s Goyolene Fibres (India) Pvt.Limited | LT XLPE Aluminum unarmooured cable of sizes 1Cx16,35,70,95,120,185,300 sqmm , LT XLPE armoured cable of sizes 1Cx16,35,70,95,120,185,300 sqmm ,2C x 16 &50 sqmm,4C x 16 sqmm ,3.5C x35,50,70,95,185 & 300 LT PVC Aluminum unarmooured / armoured cable of sizes 3.5C x 35,50,70,120,185,240 & 300sq.mm | CE(Infra)/EE –I/GTP/ 22513 Dt. 20.05.2015
34 | M/s. Ketan Enterprises | LT PVC armoured copper Control Cables of sizes 19C x 2.5, 12C x 2.5,7C x 2.5, 4C x 2.5 ,2Cx 2.5 Sq.mm & 1Cx70,120,300 Sq.mm LT XLPE armoured Cables | CE(Infra)/EE –I/GTP/ 25062 Dt. 04.06.2015
35 | M/s Zenium Cable Ltd | LT XLPE Aluminum Armoured Cables of Sizes 3.5Cx35,50,70,95 ,185 ,240 1Cx70 , 120 & 185sq.mm , LT PVC Armoured Copper Control Cables of Sizes 2Cx4.0, 4Cx2.5, 7Cx2.5& 19Cx2.5 sq.mm | CE(Infra)/EE –I/GTP/ 27018 Dt. 26.06.2015
36 | M/s C&S Electric Ltd | 11kV Indoor VCB Panel (with Breaker) & control Desk 1 I/C + 1 B/C +4 O/G feeders & 2 I/C + 1 B/C + 8 O/G feeders | CE(Infra)/EE –I/GTP/ 28523 Dt. 15.07.2015
37 | M/s C&S Electric Ltd | 33kV,1600A Indoor VCB Panel | CE(Infra)/EE –I/GTP/ 25256 dt 06.06.2015
38 | M/s Crompton Greaves Ltd | 11kV Indoor Switchgear (2I/C+BC+8O/G) | CE(Infra)/EE –I/GTP/26402 Dt. 22.06.2015
39 | M/s Stelmec Ltd | 33kV Control & Relay Panel (Indoor Type) for Transformer without differential protection & Control & Relay for feeder with tri-vector meter | CE(Infra)/EE –I/GTP/25639 Dt. 11.06.2015
120

## Infra_II
Approved Vendor List for Infra Plan Part-II scheme
Sr.No | Name | Item | Approval No.
1 | M/s RMC Switchgears Ltd. | LT 25/63/100 KVA Distribution Box with Kitkat(Rural) | CE/Infra/EE-II/Vendor Approval/32633 Dt.31.10.2014
2 | M/s Shreem Electric Ltd. | 22 Kv PT, 22Kv/110-110V,0.5/3P,50VA/50VA, Oil cooled, Outdoor type | CE/Infra/EE-II/Vendor Approval/Shreem/34927 Dt.26.11.2014
3 | Techno Associates Vidyut Pvt.Ltd. | Outdoor Oil colled 33 KV CT's & PT's for Utilization | CE/Infra/EE-II/Vendor Approval/Techno/35074 Dt.27.11.2014
4 | M/s Bush Electromech Aurangabad | 63 KVA & 100KVA LT Distribution Box (Aluminum Busbar) with KITKAT (Rural) and MCCB & 200KVA LT Distribution Box (Aluminum Bubar) with MCCB | CE/Infra/EE-II/GTP/38263 dt.24.12.2014
5 | M/s Starlit Electricals Pune | 11KV CT 200/1-1A,15VA/5P10,15/0.5, Oil cooled Outdoor type, 22KV PT, 22KV/110V,50/0.2, Oil cooled Outdoor 33KV CT 800-400/1-1-1A, PS, PS, 20/0.2, Outdoor Oil cooled,33KV CT 250/1A 15/0.2S Outdoor Oil cooled, 33KV/ PT 33KV110-110-110,50/3P,50/0.2, Outdoor Oil cooled | CE/Infra/EE-II/Vendor Approval/Starlit/00285 Dt. 3.01.2015
6 | M/s Vijaya Converter,Nashik | 100KVA with Aluminium Busbar with MCCB for the supply | CE/Infra/EE-II/GTP/02453 Dt. 27.01.2015
7 | Arena Equipement Pvt. Ltd. | 11 KV A.B. Switch & 11 KV Horn Gap Fuse | CE/Infra Plan /EE-II/Vendors/02721 Dt. 29.01.2015
8 | Spark Industries Ahmednagar | 100KVA LT Distribution Box (Aluminum Busbar) MCCB | CE/Infra/EE-II/Vendors/ 4573 Dt. 12.02.2015
9 | GKC Industries | LT Mini Feeder Pillar, 4 Way Feeder Pillar & 6/8 Way Feeder Pillar with HRC fuse | CE/Infra Plan /EE-II/Vendor Approval /GKCI/6034 dtd. 02.03.2015
10 | Pragati Electricals Pvt. Ltd. | 11 KV Outdoor Cycloalipathic Resin Cast CT's & PT and 33 KV Outdoor Oil coooled CT & PT | CE/Infra Plan/EE-II/GTP/10409 Dt. 08.04.2015
11 | Indcoil Transformers Pvt. Ltd. | 11 & 33 KV Outdoor Oil Cooled CT & PTs and LT resin Cast CTs | CE/Infra Plan /EE-II/Vendors/318/8703 Dt. 25.03.2015
12 | M/s. RMC switchgears | Service connection box( Single Phase & Three Phase) | CE/Infra/EE-II/Vendors/21635 Dt. 08.05.2015
13 | Lamco Industries Pvt. Ltd. | 11 KV & 33 KV Lighting Arrestor | CE/Infra Plan /EE-II/GTP/22146 Dt. 15.05.2015
14 | Rehsan Engineering , Nagpur | 63/100 KVA Distribution Box with Kitkat ( Rural) | CE/Infra Plan /EE-II/Vendor Approval /Rehsan/22375 dtd. 18.05.2015
15 | Bharat Udyog, Nagpur | 63 & 100KVA LTDB(Copper Busbar) with MCCB and 100 KVA LTDB (Copper Busbar) with Kitkat | No.CE/Infra Plan/ EE-II/ Vendor Approval/Bharat Udyog/27429 dtd. 02.07.2015
16 | M/s Popular Brass Metal Works,Nashik | 100KVA LTDB with Kitkat (Aluminium Busbar) | CE/Infra Plan /EE-II/Vendor Approval /Popular /800-28371 dtd. 13.07.2015
17 | M/s Pragati Electricals Pvt Ltd. | 11KV Outdoor Cycloalipathic Resin Cast CT’s & PT and 33 KV outdoor oil cooled Dead Tank CTs & PTs | No.CE/Infra Plan/ EE-II/ GTP/28847 Date:20.07.2015
18 | M/s Ashlesha Power Controls Pvt. Ltd. Akola | 63/100/200 KVA Distribution Box with KITKAT (Rural) and 63/100/200 KVA with Distribution Box with MCCB | CE/Infra Plan /EE-II/Vendor Approval /Ashlesha Power/781-29521 dtd. 27.07.2015
19 | M/s Engineers Enterprises, Jaipur | 9KA, 5KA Distribution Class LA, 18KV, 5KA Distribution Class LA & 30KA, 10KA Distribution Class LA | No.CE/Infra Plan/ EE-II/ Vendor Approval/Engineers Ent./915/32058 Date: 25.08.2015
20 | M/s. Victor Switchgear Pvt. Ltd. | 63 and 100 KVA Distribution Box with KiKat (Rural)(Aluminum Busbar) | No.CE/Infra Plan/ EE-II/ Vendor Approval/Victor/32046 Date: 25.08.2015

## Infra II
Approved Vendor List for Infra Plan Part-II scheme
Sr.No | Name | item | Approval No.
EE III
1 | M/s Bhatinda Ceramics (P) Ltd., | 33 & 11 KV Pin Insulators | CE/Infra Plan/EE-III/3837 dated 04.02.2014
2 | M/s M. M. Agarwal | 8 mtr, 9 mtr PSC Pole | CE/Infra Plan/Vendors/3999 dated 05.02.2014
3 | M/s R R Prestress Industries | 8 mtr, 9 mtr PSC Pole | CE/Infra Plan/Vendors/0624 dated 07.01.2014
4 | M/s Manchukonda Prakasham Industries India Pvt Ltd. | 8 mtr, 9 mtr PSC Pole
5 | M/s Manchukonda Prakasham Industries India Pvt Ltd. | 8 mtr PSC pole (200 Kg)
6 | M/s Sun Insulators Pvt Ltd | LT Shackle Insulator, LT Stay Insulator, HT Pin Insulator, 11 KV Disc Insulator | CE/Infra Plan/Vendors/1920 dated 18.01.2014
7 | M/s Rama Sales Corporation | LT Shackle Insulator, LT Stay Insulator, HT Pin Insulator, 11 KV Disc Insulator | CE/Infra Plan/Vendors/1919 dated 18.01.2014
8 | M/s Shri Balajee Prestress Industries | 8 mtr, 9 mtr PSC Pole | CE/Infra Plan/Vendors/1918 dated 18.01.2014
9 | M/s Amol Cement Product | 8 mtr, 9 mtr PSC Pole | CE Infra/EE-III/GTP/00415 dated 04.01.2014
10 | M/s Prime Ispat Ltd | RSJ Pole | CE/Infra Plan/Vendors/995 dated 10.01.2014
11 | M/s Agrawal Structure Mills Pvt Ltd | RSJ Pole | CE/Infra Plan/Vendors/625 dated 07.01.2014
12 | M/s Indian Structural Corporation | 8 mtr, 9 mtr PSC Pole | CE/Infra Plan/Vendors/2047 dated 20.01.2014
13 | M/s Ambica Ceramics Pvt Ltd | Post Insulator (11,22 Kv) Pin Insulator (11,22,33 Kv) Disc Insulator (11 kv 45/70 KN) | CE/Infra Plan/Vendors/2080 dated 20.01.2014
14 | M/s JK Prestress Works | 8 mtr, 9 mtr PSC Pole | CE/Infra Plan/Vendors/2337 dated 22.01.2014
15 | M/s Rajeev Industries | HT/LT Insulators | CE/Infra Plan/Vendors/2383 dated 23.01.2014
16 | M/s Mahamaya Steel Industry Ltd | RSJ Pole | CE/Infra Plan/Vendors/2336 dated 22.01.2014
17 | M/s SKS Ispat & Power Ltd | RSJ Pole | CE/Infra Plan/Vendors/623 dated 07.01.2014
18 | M/s. Sarthak Ispat Pvt. Ltd | RSJ pole
19 | M/s Nandan Steels and Power Ltd | RSJ pole | CE/Infra Plan/Vendors/13080 dated 15.01.2014
20 | M/s Beton Concrete Products Pvt. Ltd. | PSC Pole | CE/Infra Plan/Vendors/4570 dated 11.02.2014
21 | R R Industries | HT/LT Insulators | CE/Infra Plan/Vendors/5413 dated 15.02.2014
22 | M/s Versatile Prestress Product | PSC Pole | CE/Infra Plan/Vendors/7997 dated 07.03.2014
23 | M/s Gopal Industries | PSC Pole | CE/Infra Plan/Vendors/7998 dated 07.03.2014
24 | M/s Om Poles Udyog | PSC Pole | CE/Infra Plan/Vendors/7084 dated 01.03.2014
25 | M/s Topline Ceramics Pvt. Ltd. | HT/LT Insulators | CE/Infra Plan/Vendors/7999 dated 07.03.2014
26 | M/s. Shri Jayraj Industries | PSC Pole | CE/Infra Plan/Vendors/7784 dated 05.03.2014
27 | M/s Reychem RPG (P) Ltd | HT/LT Insulators | CE/Infra Plan/Vendors/08085 dated 07.03.2014
EE IV
1 | M/s Star Delta Transformers Ltd | 1) Single Phase 25 KVA & 15 KVA Distribution Transformer 2) 100 KVA 11/0.433 V | 1) CE Infra/EE-IV/Vendors/infra -IV/ 422356 Dt.18.05.2015
2 | M/s Silverline Electrical Pvt Ltd | 63 KVA ,100 KVA ,200 KVA,630 KVA 11/0.433 V 63 KVA ,100 KVA,200 315 KVA, 630KVA 22/0.433 V ,630 KVA 22/0.433 kV Indoor ,315 KVA 22/0.433 kV Indoor Distribution Transformer,630 KVA I/D Type ,315 KVA I/D Type | 5) CE Infra/EE-IV/Vendors/infra -iv/820 Dt.09.01.2015 6) CE Infra/EE-IV/Vendors/infra -iv/29406 Dt.24.07.2015 7) CE Infra/EE-IV/Vendors/infra -iv/29405 Dt.24.07.2015 8) CE Infra/EE-IV/Vendors/infra -iv/36802 Dt.16.10.2015 7) CE Infra/Infra-II / Vendors/36803 Dt.16.10.2015
3 | M/s Tesla Transformers Ltd | 1) 5 MVA,10MVA 33/11 KV , 5 MVA 33/22 KV, 10 MVA 22/11 KV Power Transformer 2) 25 KVA,315 KVA 11/0.433 KV, 100 KVA 22/0.433 Kv Dist. Transformer 3)315 KVA 22/0.43 Kv Dist. & 11/0.43 Kv Dist. Transformer 4) 630 KVA 22/0.43 Kv Dist. Transformer 5) 5 MVA , 33/11 KV Power Transformer6) 315 KVA 22/0.433 kV 7) 10 MVA 33/11 kV Power Transformer 8)200 KVA 22/11 kV Dist. Transformer 9) 630 KVA 11/0.43 Kv O/D Dist Transformer 10) 630 KVA 22/0.43 Kv O/D Dist Transformer 11) 630 KVA 11/0.43 Kv I/D Dist Transformer | 7) CE Infra/EE-IV/Vendors/infra -II/21728 Dt. 11.05.2015 8) CE Infra/EE-IV/Vendors/infra -II/22877 Dt. 22.05.2015 9) CE Infra/EE-IV/Vendors/infra -II/27017 Dt. 26.06.2015 10) CE Infra/EE-IV/Vendors/infra -II/26404 Dt. 22.06.2015 11) CE Infra/EE-IV/Vendors/infra -II/30799 Dt. 11.08.2015 12) CE Infra/EE-IV/Vendors/infra -II/30798 Dt. 11.08.2015 13) CE Infra/EE-IV/Vendors/infra -II/30797 Dt. 11.08.2015
4 | M/s National Electrical Corporation,Jaipur | 63 KVA,100 KVA, 200 KVA 11/0.433 V & 100 ,200 KVA 22/0.433 V Distribution Transformer | 1) CE/Infra Plan/494 Dt 06.1.2016
5 | M/s Mahavir Electrical & Engineers | 63 KVA,100 ,200KVA 11/0.433 V Distribution Transformer | 1) CE/Infra Plan/EE-IV/25952 Dt 16.06.2015
6 | M/s Nashik Power Equipment | 63 KVA , 100 KVA , 200 KVA,315 KVA 11/0.433 V Distribution Transformer | CE/Infra Plan/EE-IV/24240Dt 27.05.2015
7 | M/s Rajasthan Transformers & Switchgears | 63 KVA , 100 KVA & 200 KVA 11/0.433 V Distribution Transformer 2) 5 MVA 33/11 Kv Power Transformer | CE/Infra Plan/EE-IV/11471/72/73 Dt 09.04.2014 CE/Infra II/Vendor/ 38788 Dt 06.11.2015
8 | Manisha Engg Pvt ltd. | 11 KV & 22Kv 100, 200KVA DTC, 1250 KVA 22/0.433 kV Dist. Transformer | 1) CE Infra/EE-IV/Vendors/infra -II/31137 Dt. 13.08.2015
9 | M/s Manisha Engineers Pvt Ltd | 63, 315 KVA,100 KVA 22/0.433 V Distribution Transformer 63,315,630 KVA 11/0.433 V Distribution Transformer | CE/Infra Plan/EE-IV/38061 Dt 23.12.2014 CE/Infra Plan/EE-IV/38264 Dt 24.12.2014 CE/Infra Plan/EE-IV/712 Dt 08.01.2015 CE/Infra Plan/EE-IV/707 Dt 08.01.2015 CE/Infra Plan/EE-IV/3241 Dt 02.02.2015
10 | M/s High Rise Transformers | 63 KVA & 100 KVA 11/0.433 V Distribution Transformer | CE/Infra Plan/EE-IV/712 Dt 08.01.2015
11 | M/s Shivshakti Power Devic, pune | 63 KVA,100 KVA,200 KVA,315 KVA,630 KVA 11/0.433 V , 63 KVA,100 KVA,315KVA, 200, 630 KVA 22/0.433 V Distribution Transformer | CE/Infra Plan/EE-IV/36983 Dt12.12.2014 CE/Infra Plan/EE-IV/37858 Dt22.12.2014
12 | M/s Transfab Power (India) Ltd. | 10 MVA 33/11 , 33/22 KV ,22 KV/11 KV Power Transformer | 4) CE/Infra Plan/EE-IV/718 Dt 08.01.2015 (Type Test Re-Approval)
13 | M/s Digvijay Industries Aurangabad | 11/0.433Kv 63 KVA , 100KVA,200 KVA DTC | 1) CE Infra/EE-IV/Vendors/31889 Dt. 21.08.2015
14 | M/s Nashik Transformers Industries | 63 KVA , 100 KVA,200 KVA, 315,630 KVA 11/0.433 V Distribution Transformer | 2.CE/Infra Plan/EE-IV/36466 Dt 09.12.2014 3.CE/Infra Plan/EE-IV/6995 Dt 11.03.2015 4.CE/Infra Plan/EE-IV/10658 Dt 10.04.2015
15 | M/s Static Electricals,Pune | 63 KVA, 100 KVA ,200 KVA, 315 KVA , 630 KVA 22/0.433 V & 63 KVA, 100 KVA, 315 KVA,630 KVA 11/0.433 V Distribution Transformer | 2.CE/Infra Plan/EE-IV/29944 Dt 25.09.2014 3.CE/Infra Plan/EE-IV/4111,4112,4106 Dt 07.02.2015
16 | M/s Toshiba Transmission & Distribution Systems Pvt Ltd | 10 MVA 33/11 KVA & 5 MVA 22/11 KV ,33/11 KV Power Transformer | CE/Infra Plan/EE-IV/29321 Dt 20.09.2014 CE/Infra Plan/EE-IV/21527 Dt 07.05.2015 CE/Infra Plan/EE-IV/22357 Dt 18.05.2015
17 | M/s Shubham Mech Pvt Ltd | 63 KVA & 100 KVA 11/0.433 V Distribution Transformer | CE/Infra Plan/EE-IV/31109/31142 Dt 13.10.2014
18 | M/s Trupti Power Projects Pvt Ltd | 63 KVA,100 KVA,200 KVA 11/0.433 V Distribution Transformer | CE/Infra Plan/EE-IV/30531,32 Dt 04.10.2014 CE/Infra Plan/EE-IV/6342 Dt 04.03.2015
19 | M/s Nissar Transformers Pvt Ltd, Pune | 315 KVA , 630 KVA,200 22/0.433 V & 200 KVA,315 KVA, 630 KVA 11/0.433 V Distribution Transformer | 1) CE/Infra Plan/EE-IV/31669 Dt 18.10.2014 2) CE/Infra Plan/EE-IV/31662 Dt 18.10.2014 3) CE/Infra Plan/EE-IV/31663 Dt 18.10.2014 4) CE/Infra Plan/EE-IV/31664 Dt 18.10.2014 5) CE/Infra Plan/EE-IV/36987 Dt 12.12.2014 6) CE/Infra Plan/EE-IV/37309 Dt 17.12.2014
20 | M/s Kalika Industries,Dhule | 63 KVA,100 KVA & 200 KVA 11/0.433 V Distribution Transformer | 1.CE/Infra Plan/EE-IV/34864 Dt 25.11.2014 2.CE/Infra Plan/EE-IV/429 Dt 25.11.2014 3.CE/Infra Plan/EE-IV/430 Dt 25.11.2014
21 | M/s Bharat Electrical,Nagpur | 63 KVA ,100 KVA,200 11/0.433 V Distribution Transformer | 1.CE/Infra Plan/EE-IV/34876 Dt 25.11.2014 2.CE/Infra Plan/EE-IV/34875 Dt 25.11.2014 3.CE/Infra Plan/EE-IV/21194 Dt 30.04.2015
22 | M/s Ramkrishna Electricals Ltd | 100, 200 KVA, 11/0.433 v ,22/0.433 V Distribution Transformer 100 KVA, 11/0.433 V Distribution Transformer | CE/Infra Plan/EE-IV/36467 Dt 09.12.2014 CE/Infra Plan/EE-IV/38348 Dt 26.12.2014 CE/Infra Plan/EE-IV/706 Dt 08.01.2015 CE/Infra Plan/EE-IV/22876 Dt 22.05.2015
23 | M/s Akshaya Engineering Works Pvt Ltd | 630 KVA, 22/0.433 V Distribution Transformer | CE/Infra Plan/EE-IV/37142 Dt 16.12.2014
24 | M/s Mahati Industries Pvt Ltd | 630 KVA, 22/0.433 V Distribution Transformer 10 MVA , 22/0.433 VPowerTransformer | CE/Infra Plan/EE-IV/713 Dt 08.01.2015 CE/Infra Plan/EE-IV/9893 Dt 04.04.2015
25 | M/s Dhananjay Electricals Com. | 63 KVA, 100 KVA 11/0.433KV Distribution Transformer | CE/Infra Plan/EE-IV/6028,30 Dt 02.03.2015
26 | M/s Allianze Transformers Pvt Ltd | 315 KVA, 11/0.433 V Distribution Transformer | CE/Infra Plan/EE-IV/4109 Dt 07.02.2015
27 | M/s Multi-Trans Industries | 25 KVA,63 KVA,100 KVA,200 KVA,315 KVA 11/0.433 Kv Distribution Transformer | CE/Infra Plan/EE-IV/9074,75,76,77,78,79 Dt 27.03.2015
28 | M/s Panorama Electricals,Thane | 1250 KVA 11/0.433 Kv Distribution Transformer | CE/Infra Plan/EE-IV/10592 Dt 09.04.2015
29 | M/s Dhanalaxmi Equipments | 100 KVA 11/0.433KV Distribution Transformer | CE/Infra Plan/EE-IV/4921 Dt 18.02.2015
30 | M/s Narsinha Engineering Works | 100 KVA 11/0.433KV Distribution Transformer | CE/Infra Plan/EE-IV/21966 Dt 13.05.2015
31 | M/s J,K Electricals | 63 KVA, 100 KVA,200KVA 11/0.433KV Distribution Transformer | CE/Infra Plan/EE-IV/22510,11 Dt 20.05.2015 CE/Infra Plan/EE-IV/24690 Dt 30.05.2015
32 | M/s Renuka Electrical & Controls | 100 KVA 11/0.433KV Distribution Transformer | CE/Infra Plan/EE-IV/24239 Dt 27.05.2015
33 | M/s Telewane Power Equipments Pvt Ltd | 1000 KVA 11/0.433 & 22/0.433 kV Dist. Transformer 630 KVA 11/0.433 & 22/0.433 kV Dist. Transformer 630 KVA 11/0.433 kV Indoor Dist. Transformer 1250 KVA 22/0.433 kV Indoor Dist. Transformer 100 KVA 22/0.433 kV Indoor Dist. Transformer, 10 MVA Power Transformer 33/11 KV | CE/Infra Plan/EE-IV/24237 Dt 27.05.2015 CE/Infra Plan/EE-IV/24238 Dt 27.05.2015 CE/Infra Plan/EE-IV/28132,33 Dt 09.07.2015 CE/Infra Plan/28520 Dt 15.07.2015 CE/Infra Plan/EE-IV/ 29935 Dt 01.08.2015 CE/Infra Plan/EE-IV/ 230573 Dt 07.08.2015 CE/Infra II/Vendor/40992 Dt 05.12.2015
34 | M/s Telewane Power Equipments Pvt Ltd | 11 KV/433 V 1000 KVA, 630 KVA, 315 KVA and 200 KVA VPI Dry Type Cu. Wound Distribution Transformers | CE Infra/EE - IV/Vendor/Infra-II/ 40993 Date : 05.12.2015
35 | M/s. Samruddhi Power & Control Panel Pvt Ltd | 63 & 100 KVA LTDB (Copper Busbar) with Kitkat | CE/Infra II/ EE-IV /Vendor/29937 Date 01.08.2015
36 | M/s Trans-Delta Transformers Pvt Ltd | 100 KVA 11/0.433KV Distribution Transformer | CE/Infra Plan/EE-IV/26883 Dt 26.06.2015
37 | M/s Shaoo Engineerings Works Pvt Ltd | 11 & 22 KV 100 Amp, HG Fuse | CE Infra/Infra-II/Vendor/28652 Dt 16.07.2015
38 | M/s Megha Electrical Services | 100 KVA 11/0.433KV Distribution Transformer | CE/Infra Plan/EE-IV/29769 Dt 30.07.2015
39 | M/s Nirman Transformers Pvt Ltd | 630 KVA 22 kV/ 0.433 V Distribution Transformers | CE Infra/Vendors/Infra-II/33881 Date : 11.09.2015
40 | M/s Zip Engineers Pvt Ltd | 630 KVA 22 kV/ 0.433 V Distribution Transformers | CE Infra/Vendors/Infra-II/2758 Date : 02.09.2015
41 | M/s Classic Enterprises | 6.5/11 kV Heat Shrinkable I/D, O/D Termination & Straight through joints & 1.1 kV Heat Shrinkable I/D, O/D termination & Straight through joints | CE Infra/Vendors/Infra-II/32696 Date : 01.09.2015
42 | M/s Polycab Wires PVT.Ltd. | 11 KV (3Cx 185 sqmm & 3C x 240 sqmm ), 22 KV ( 3C x 185 sqmm , 3C x 240 sqmm & 3C x300 sqmm) & 33 KV (3C x 185 sqmm) cable, 33 KV 3C x 400sqmm HT XLPE Cable | CE/Infra Plan-II/ GTP/ 33998 Date:14.09.2015 CE/Infra Plan-II/ GTP/ 5536 Date:18.02.2016
43 | M/s Polycab Wires PVT.Ltd. | ACSR Weasel (34sqmm), ACSR Rabbit (55 sqmm), ACSR Dog (100 sqmm) & ACSR Panther (200 sqmm) conductors | CE/Infra Plan-II/ GTP/ 33607 Date:08.09.2015
44 | M/s Orange Power T&D Equipment Pvt Ltd | 9kV 5kA and 18kv 5kA Distribution Class & 30kV 10kA Station Class Lightning Arresters | CE/Infra Plan/Vendor Approval/Orange/34166 Dt 16.09.2015
45 | M/s Deltron Electricals | 630 KVA 11 kV/ 0.433 V Distribution Transformers | CE/Infra Plan/EE-IV/29927 Dt 01.08.2015
46 | M/s C & S Electric Ltd | 11 KV & 22 KV RMU's with Additional extensible configuration. | CE/Infra Plan-II/ GTP/34282 Date:18.09.2015
47 | M/s Atul PCC | PSC Pole (8MTR-140 KG) (9MTR -200 KG) | CE/Infra Plan-II/ GTP/34165 Date:16.09.2015
48 | M/s Prassanna Electrical | 11 KV & 33 KV Outdoor Resin Cast Dry Type CT’s and PT’s | CE/Infra Plan-II/ GTP/33955 Date:14.09.2015
49 | M/s Kryfs Power Ltd | 5MVA 33/11 KV Power Transformer | CE/Infra Plan-II/ GTP/30570 Date:07.08.2015
50 | M/s Konark Metal & Wire Conductors Pvt Ltd, | AAAC Conductor AAAC Weasel (34sqmm), AAAC Rabbit(55sqmm), AAAC Raccoon(80sqmm) & AAAC Dog(100sqmm) conductors | CE/Infra Plan-II/ GTP/34904 Date 24.09.2015
51 | M/s Sterlite Technologies Ltd | 11 KV HT XLPE Cable 3C x 300 sqmm | CE/Infra Plan-II/ GTP/35955 Date:07.10.2015
52 | M/s East India Udyog Ltd | 5 MVA 33/11 KV Power Transformer | CE/Infra Plan-II/ GTP/36257 Date:12.10.2015
53 | M/s Gala Shrink Fit | 6.5/11 kV Heat Shrinkable I/D, O/D Termination & Straight through joints & 1.1 kV Heat Shrinkable I/D, O/D termination & Straight through joints | CE/Infra Plan-II/ GTP/36480 Date:14.10.2015
54 | M/s Rama Pottery Works | 1) HT & LT Insulator & Kitkat Fuses 2) HT/LT Polymer Insulator | 1) CE/Infra Plan-II/ GTP/36186 Date:09.10.2015 2) CE/Infra Plan-II/ GTP/18226 Date:06.06.2016
55 | M/s K.K.Powers Controls Pvt Ltd | LT XLPE Cable 1.1 KV (3.5C x 35 sqmm ,3.5C x 70 sqmm ,3.5C x120 sqmm ,3.5C x 185 sqmm, 3.5C x 240 sqmm & 3.5C x300sqmm) | CE/Infra Plan-II/ GTP/37016 Date:17.10.2015
56 | M/s Agarwal Salt Company | HT/LT Porcelain Insulators | CE/Infra Plan-II/ GTP/36185 Date:09.10.2015
57 | M/s Technofiber Industries | LT AB Cable 3C x 25 +1x16+1x25sqmm, 3C x 50 +1x16+1x35 sqmm & 3C x 95+1x16+1x70 sqmm | CE/Infra Plan-II/ GTP/37831 Date:29.10.2015
58 | M/s Vikas Cable | LT XLPE Cable 1.1 KV ( 3.5C x 50 sqmm , 3.5C x 70 sqmm , 3.5C x95sqmm , 3.5C x120 sqmm ,3.5C x 150 sqmm & 3.5C x 185sqmm) | CE/Infra Plan-II/ GTP/38255 Date:02.11.2015
59 | M/s Mahavir Transmission Ltd | AAAC Weasel (34sqmm), AAAC Rabbit (55sqmm), AAAC Raccoon (80sqmm), AAC Ant (50Sqmm), AAC Gnat (25 sqmm), ACSR Dog (100 sqmm) & ACSR Panther (200 sqmm) | CE/Infra Plan-II/ GTP/38254 Date:02.11.2015 |  | 3800
60 | M/s Teksons | 30 V ,100 AH Battery Set | CE/Infra Plan-II/ GTP/38730 Date:05.11.2015
61 | M/s Galaxy Transmission Ltd | AAAC Reccoon Conductor (80 sqmm) | CE/Infra Plan-II/ GTP/39225 Date:17.11.2015
62 | M/s Shree Radhe Industries | HT Polymer Pin Insulator | CE/Infra Plan-II/ GTP/40567 Date:01.12.2015 CE/Infra Plan-II/ GTP/42984Date:31.12.2015
63 | M/s Telewane Power Equipments Pvt Ltd | Compact Sub-Station | CE/Infra Plan-II/ GTP/41208 Date:09.12.2015
64 | M/s Havells India Ltd | XLPE Armoured Cable- 3.5 C x 35 sqmm , 3.5 C x 70 sqmm , 3.5 C x 95 sqmm , 3.5 C x 240 sqmm , 3.5 C x 300 sqmm , 3.5 C x 400 sqmm & 1 C x 300 sqmm and PVC Armoured Copper Control Cable- 2 C x 2.5 sqmm,4 C x 2.5 sqmm, 12 C x 2.5 sqmm, 19 C x 2.5 sqmm 2) 33 KV HT XLPE Armoured Cable 3 C x 300 sqmm 3) 3.5Core x 120sqmm, LT XLPE Armored Aluminum cable ,3.5Core x 150sqmm, LT XLPE Armored Aluminum cable,3.5Core x 185 sqmm, LT XLPE Armored Aluminum cable,3Core x 185 sqmm, 6.35/11 KV XLPE Armored Aluminum cable, 3Core x 300sqmm, 6.35/11 KV XLPE Armored Aluminum cable,3Core x 300sqmm, 12.7/22 KV XLPE Armored Aluminum cable | 1) CE/Infra Plan-II/ GTP/41291 Date:10.12.2015 2) CE/Infra Plan-II/ GTP/18726 Date:10.06.2016 3) CE/Infra Plan-II/ GTP/23659 Date:27.07.2016 4) CE/Infra Plan-II/ GTP/24661 Date:04.08.2016 5) CE/Infra Plan-II/ GTP/31240 Dt 14.10.2016
65 | Zenium Cables Ltd | 1) LT PVC- (3.5 C x 25 sqmm PVC armoured cable) & PVC Armored copper Control cables- (2C x 2.5 sqmm, 12 C x 2.5 sqmm & 27C x2.5 sqmm) 2) Copper Conductor Control Cables (2 C x 2.5 sqmm , 4 C x 2.5 sqmm ,12 C x 2.5 sqmm ,19 C x 2.5 sqmm ) 3) LT XLPE & PVC Control Cables (1 C x 70 sqmm XLPE, 1 C x 120 sqmm XLPE,1 C x 185 sqmm XLPE, 1 C x 185 sqmm Aluminum, armored cable,2 C x 4 sqmm Solid Aluminum, armored cable) ,3C x 95sqmm, 12.7/22kV Aluminum XLPE Cable,2C x 10 sqmm XLPE, Armored Aluminum Cables, 3.5C x 300 sqmm XLPE, Armored Aluminum Cables | 1) CE/Infra Plan-II/ GTP/41400 Date:11.12.2015 2) CE/Infra Plan-II/ GTP/ 4247 Date:06.02.2016 3) CE/Infra Plan-II/ GTP/ 4246 Date:06.02.2016 4) CE/Infra Plan-II/ GTP/ 36386 Date:06.12.2016 5)CE/Infra Plan-II/ GTP/ 1660 Date:25.01.2017
66 | M/s Balaji Engineers | 1) 11 KV AB Switch & 11 KV H.G Fuse 2) 63 KVA,100 KVA and 200 KVA LT distribution boxes (Aluminum Bus) with KitKat for Rural Area and 63 KVA,100 KVA and 200 KVA LT distribution boxes( Aluminum Bus) with MCCB for Urban Area | 1) CE/Infra Plan-II/ GTP/41400 Date:11.12.2015 2) CE/Infra Plan-II/ GTP/ 33333 Date: 04.11.2016
67 | M/s Shrinivas Fabrication GTD Pvt Ltd | 100 KVA Distribution Box with Kitkat (Rural) | CE/Infra Plan-II/ GTP/42672 Date:23.12.2015
68 | M/s Shree Engineering | 63, 100,200 KVA Distribution Box with MCCB (Urban) | CE/Infra Plan-II/ GTP/42671 Date:23.12.2015
69 | M/s G.D.Met Steel Pvt Ltd | 125 x 70 mm & 100 x 116 mm RSJ Pole | CE/Infra Plan-II/ GTP/42444 Date:22.12.2015
70 | M/s Shrinivas Fabrication GTD Pvt Ltd | 100 KVA Distribution Box with Kitkat (Rural) | CE/Infra Plan-II/ GTP/42672 Date:23.12.2015
71 | M/s Saishree Engineering | 63,100,200 KVA,11/0.43 KV DTC | CE/Infra Plan-II/ GTP/88 Date:01.01.2016 CE/Infra Plan-II/ GTP/89 Date:01.01.2016 CE/Infra Plan-II/ GTP/90 Date:01.01.2016
72 | M/s Naresh Potteries | HT Polymer Pin Insulator | CE/Infra Plan-II/ GTP/838 Date:06.01.2016
73 | M/s Prathmesh Transformers & Engg | 63 KVA & 100 KVA 11/0.433 V Distribution Transformer | CE/Infra Plan-II/ GTP/2031 Date:15.01.2016 CE/Infra Plan-II/ GTP/2082 Date:15.01.2016
74 | M/s Stelmec Ltd | 11 kV VCB panels (Indoor type) having Configurations (2 I/C + 1 B/C + 8 O/G) with Control desk panel with all Accessories | CE/Infra Plan-II/ GTP/00175 Date:04.01.2016
75 | M/s Cropton Greaves Ltd | 1) 22 KV VCB panel (I/D) having configurations (2 I/C +1 B/C+ 4 O/G) 2) 22 KV RMU (3 Isolator + 2VCB) | CE/Infra Plan-II/ GTP/2008 Date:14.01.2016 CE/Infra Plan-II/ GTP/2007 Date:14.01.2016
76 | M/s Eswari Electricals Pvt Ltd | 11 KV & 22 KV RMU | CE/Infra Plan-II/ GTP/2030 Date:15.01.2016
77 | M/s Popular Switchgears Pvt Ltd | Approval to M/s. Popular Switchgears Pvt Ltd for amended approval of IEC 103 protocol relay for utilization under Infra Plan II Scheme. GTP and type test approval for Ashida make numerical 3 Over current & 1 Earth Fault relay & Differential protection relay | CE/Infra Plan-II/ GTP/3053 Date:25.01.2016
78 | M/s Goenka Switchgears Pvt Ltd | 11 KV C & R panel & 33 kV control & Relay Panel (Indoor Type) for Transformer with differential protection & without differential protection and C&R panel | CE/Infra Plan-II/ GTP/4195 Date:05.02.2016 CE/Infra Plan-II/ GTP/6846 Date:01.03.2016
79 | M/s Prabhakar Electricals | 63 KVA & 100 KVA LTDB / LT Mini Feeder Pillar, 4 way Feeder Pillar & 6Way Feeder Pillar with HRC fuse | CE/Infra Plan-II/ GTP/5343 Date:17.02.2016 CE/Infra Plan-II/ GTP/6848 Date:01.03.2016
80 | M/s Shree Cement Products | PSC Pole (8MTR-140 KG) (9MTR -200 KG) | CE/Infra Plan-II/ GTP/5537 Date:18.02.2016
81 | M/s Janki Electromech | 63 KVA and 100 KVA LT Distribution Box (Aluminum Bus) with Kitkat | CE/Infra Plan-II/ GTP/6609 Date:26.02.2016
82 | M/s Shree Saisiddhi Cement Product | PSC Pole (8MTR-140 KG) (9MTR -200 KG) | CE/Infra Plan-II/ GTP/6623 Date:26.02.2016
83 | M/s Ravin Cable Ltd | 1) 3Core x x 400sqmm, 22 kV HT cable 2) 3Core 185, 6.35/11 lV Aluminum HT XLPE Cable | 1) CE/Infra Plan-II/ GTP/6847 Date:01.03.2016 2) CE/Infra Plan-II/ GTP/25030 Date:08.08.2016
84 | M/s Sunlite Cable Industries | LT Armoured Cable & PVC Armoured Copper Control Cable | CE/Infra Plan-II/ GTP/7594 Date:08.03.2016
85 | M/s Popular Brass Metal Works | 160A HRC Fuse Link & 100A Kit Kat | CE/Infra Plan-II/ GTP/7685 Date:09.03.2016
86 | M/s J.K.Pole Industry | 8 MTR 140 KG | CE/Infra Plan-II/ GTP/7830 Date:10.03.2016
87 | M/s Finolex Cables Ltd | 11 kV 3C x 95 sqmm & 22 kV 3 C x 300 sqmm HT XLPE armored cable | CE/Infra Plan-II/ GTP/8227 Date:16.03.2016
88 | M/s Electrolite cable industries | Armoured PVC LT Power & Copper conductor cable,LT XLPE & PVC Cable | 1) CE/Infra Plan-II/GTP/9924 Date: 02.04.2016 2) CE/Infra Plan-II/GTP/32656 Date: 027.10.2016
89 | M/s Success Engineers | 33,22&11 Control & Realay Panel | CE/Infra Plan-II/GTP/9927 Date: 02.04.2016
90 | M/s Success Engineers | 33,22&11 Control & Realay Panel for diffrential protection of transformer | CE/Infra Plan-II/GTP/9925 Date: 02.04.2016
91 | M/s KEI Industries Ltd | 1) LT PVC armoured Cable & Lt XLPE armoured cable 2) armored aluminum XLPE Cable (3.5C x 300 Sqmm, 3.5C x 240sqmm, 3.5C x 185 sqmm, 3.5C x 120sqmm, 3.5C x 70 sqmm, 3.5C x 50sqmm,3.5 C x 25sqmm ) and & Armored PVC copper Control cables (2C x16sqmm, 2C x 2.5sqmm, 7C x 2.5sqmm, 19C x 2.5sqmm, 27C x 2.5sqmm & 2C x 4 sqmm),3C X 95 sq.mm (6.35/11kV), 3CX 185 sq.mm (6.35/11kV), 3X240 sq.mm (6.35/11kV), 3X300 sq.mm (6.35/11kV), 3X300 sq.mm (12.7/22kV), 3X300 sq.mm (19/33kV), XLPE Aluminum cables | 1) CE/Infra Plan-II/GTP/9926 Date: 02.04.2016 2)CE/Infra Plan-II/GTP/17389 Date: 30.05.2016 3)CE/Infra Plan-II/GTP/25421 Date: 11.08.2016
92 | M/s Thombre Cement Product | PSC Pole (8MTR-140 KG) (9MTR -200 KG) | CE/Infra Plan-II/GTP/9928 Date: 02.04.2016
93 | M/s Akshaya Engineering Works Pvt Ltd | 315 KVA 22/0.433 V Distribution Transformer | CE/Infra Plan-II/GTP/11393 Date: 20.04.2016
94 | M/s Vision Vidyut Engineers Pvt Ltd | 315 KVA & 1000 KVA 11/0.433 V Distribution Transformer 2) 630 KVA 22/0.433 kV O/D Distribution Transformer | 1) CE/Infra Plan-II/GTP/11940 Date: 27.04.2016 2) CE/Infra Plan-II/GTP/21200 Date: 04.07.2016
95 | M/s ABB Ltd | 11 KV Outdoor Breaker | CE/Infra Plan-II/GTP/11945 Date: 27.04.2016
96 | M/s Reliance Engineering Copany | 63/100 KVA LTDB with MCCB & with M/s DLV Switchgears | CE/Infra Plan-II/GTP/11948 Date: 27.04.2016 CE/Infra Plan-II/GTP/18525 Date: 09.06.2016
97 | M/s Pioneer Industries | 100 KVA & 200 KVA 11/0.433 V Distribution Transformer | CE/Infra Plan-II/GTP/13903 Date: 17.05.2016
98 | M/s Pratik Enterprises & Contractors | 315 KVA 11/0.433 kV Distribution Transformer | CE/Infra Plan-II/GTP/14230 Date: 19.05.2016
99 | M/s Vikram Power Techologies Pvt Ltd | HT Polymer Insulator | 1) CE/Infra Plan-II/GTP/21504 Date: 27.07.2016 2) CE/Infra Plan-II/GTP/30662 Date: 06.10.2016
100 | M/s Krishna PSC Poles | PSC Pole (8MTR-140 KG) (9MTR -200 KG) | CE/Infra Plan-II/GTP/27286 Date: 02.09.2016
111 | M/s Renuka Pole Industries | PSC Pole (8MTR-140 KG) (9MTR -200 KG) | CE/Infra Plan-II/GTP/28747 Date: 21.09.2016
112 | M/s Padmavati Pole Factory | PSC Pole (8MTR-140 KG) | CE/Infra Plan-II/GTP/30663 Date: 06.10.2016
113 | M/s Indcoil Transformer Pvt Ltd | 11 KV & 33 KV Outdoor Oil Cooled CT's | CE/Infra Plan-II/GTP/31357 Date: 14.10.2016
114 | M/s Hi Tech Trans Techenocrates Pvt Ltd | 11 kV & 33 kV Composite Polymer Insulator | CE/Infra Plan-II/GTP/31540 Date: 17.10.2016
115 | M/s Adinath Industries | HT Composite Polymer Type Insulator | CE/Infra Plan-II/GTP/32383 Date: 25.10.2016
116 | M/s San Electricals | 1) 11KV HG Fuse & 11KV A.B. Switch 2) LT Mini Feeder Pillar & 4 Way Feeder Pillar with HRC Fuse | 1) CE/Infra Plan-II/GTP/33437 Date: 04.11.2016 2)CE/Infra Plan-II/GTP/37983 Date: 27.12.2016
117 | M/s Shree Ganesh Industrial Control | /100 KVA Distribution Box (Aluminum Bus) with Kitkat & MCCB | CE/Infra Plan-II/GTP/25500
118 | M/s Epcos India Pvt Ltd | 0.6 MVAR 11 KV Capacitor Bank & 11kV/200A Automatic Capacitor Switch | CE/Infra Plan-II/GTP/34050 Date: 15.11.2016
118 | M/s Gupta Power Infrastructure Ltd | 3Core x 300 sqmm, 12.7 / 22KV XLPE Armored Aluminum Cable, 3Core x 300 sqmm, 19 /33 KV XLPE Armored Aluminum Cable | CE/Infra Plan-II/GTP/33902 Date: 11.11.2016 | 50
119 | M/s Tade Powertech Pvt Ltd | 22kV RMU’s | CE (Infra)/Infra-II/GTP/Vendor Approval/34077 Date:15/11/2016
120 | M/s Rajeev Industries | 11KV, 22KV & 33KV Composite Polymer Insulator | CE (Infra)/Infra-II/GTP/Vendor Approval/34190 Date:16/11/2016
121 | M/s Akanksha Power & Infrastructure Pvt Ltd | 11 KV O/D Oil Filled CT & 11 KV O/D Resin Cast Dry Type CT and PT | CE (Infra)/Infra-II/GTP/Vendor Approval/34771 Date:22/11/2016
122 | M/s R.R.Industries | 11 kV & 33 kV Composite Polymer Insulator | CE (Infra)/Infra-II/GTP/Vendor Approval/35836 Date:30/11/2016
123 | M/s Satyam Power Industrial Cable | 1) XLPE Armored Aluminum cable 3.5 Core x 300sqmm, 3.5 Core x 240sqmm, 3.5 Core x 185 sqmm, 3.5 Core x 120 sqmm, 3.5 Core x 95 sqmm, 3.5 Core x 70 sqmm, 3.5 Core x 50 sqmm, 3.5 Core x 35 sqmm, 4 Core x 16 sqmm, 4 Core x 10 sqmm, 2 Core x 16 sqmm, 2 Core x 10 sqmm, 1 Core x 300 sqmm, 1 Core x 185 sqmm, 1 Core x 120 sqmm, 1 Core x 95sqmm, 1 Core x 70 sqmm, 1 Core x 50 sqmm, 1 Core x 35 sqmm. 2) PVC Armored Copper Cable- 19 Core x 2.5 sqmm, 12 Core x 2.5 sqmm, 10 Core x 2.5 sqmm, 7 Core x 2.5 sqmm, 4 Core x 2.5 sqmm, 2 Core x 2.5 sqmm 3) PVC Armored Aluminum Cable-4C x 4 sqmm, 2C x4 sqmm 4) 3C x 120 +1C x 16 + 1C x 70sqmm XLPE Insulated (Phase & Street light Conductor) & Bare Messenger conductor, Aluminum Conductor, LT Aerial Bunched Cable. 5) 3C x 70 +1C x 16 + 1C x 50sqmm XLPE Insulated (Phase & Street light Conductor) & Bare Messenger conductor, Aluminum Conductor, LT Aerial Bunched Cable. 6) 3C x 50 +1C x 16 + 1C x 35sqmm XLPE Insulated (Phase & Street light Conductor) & Bare Messenger conductor, Aluminum Conductor, LT Aerial Bunched Cable. | CE (Infra)/Infra-II/GTP/Vendor Approval/36387 Date:06.12.2016
124 | M/s K.K. Powers Control wires Pvt Ltd | LT XLPE Cable 1.1 KV (3.5C x 35 sqmm ,3.5C x 70 sqmm ,3.5C x120 sqmm ,3.5C x 185 sqmm, 3.5C x 240 sqmm & 3.5C x300sqmm) | CE (Infra)/Infra-II/GTP/Vendor Approval/35836 Date:30/11/2016
125 | M/s. Gloster Cables Ltd | 3.5 Core x 300 sq.mm XLPE, armored Aluminum cable, 3.5 Core x 240 sq.mm XLPE, armored Aluminum cable, 3.5 Core x 95 sq.mm XLPE, armored Aluminum cable, 3.5 Core x 70 sq.mm XLPE, armored Aluminum cable,3.5 Core x 50 sq.mm XLPE, armored Aluminum cable,3.5 Core x 35 sq.mm XLPE, armored Aluminum cable,4 Core x 16 sq.mm XLPE, armored Aluminum cable,2 Core x 16 sq.mm XLPE, armored Aluminum cable,1 Core x 185 sq.mm XLPE, armored Aluminum cable,1 Core x 120 sq.mm XLPE, armored Aluminum cable,1 Core x 300 sq.mm XLPE, armored Aluminum cable,1 Core x 16 sq.mm XLPE, armored Aluminum cable,1 Core x 25 sq.mm XLPE, armored Aluminum cable,1 Core x 35 sq.mm XLPE, armored Aluminum cable,1 Core x 50 sq.mm XLPE, armored Aluminum cable,1 Core x 70 sq.mm XLPE, armored Aluminum cable,1 Core x 95 sq.mm XLPE, armored Aluminum cable,1 Core x 120 sq.mm XLPE, armored Aluminum cable,2 Core x 2.5 sq.mm PVC, Galvanised steel round wires armored Copper cable,2 Core x 4 sq.mm PVC ,Galvanised steel round wires armored Copper cable | CE (Infra)/Infra-II/GTP/Vendor Approval/35836 Date:25.01.2017
126 | M/s Siemens Ltd | 11KV RMU | CE/Infra-II/Vendor/13286 dtd 26.5.2017
127 | M/s Tade Powertech Pvt Ltd | 11KV RMU | CE/Infra-II/Vendor/9733dtd 26.04.2017
128 | M/s Stelmec Ltd | 12KV, 1250A and 25KA outdoor type porcelien clad vacuum circuit breaker | CE/Infra-II/Vendor/9267dtd 25.4.2017
129 | M/s Stelmec Ltd | 36KV, 1600A and 25KA outdoor type porcelien clad vacuum circuit breaker | CE/Infra-II/Vendor/9166dtd 24.4.2017
130 | M/s Havells India Ltd | 3CX240sqmm11KV XLPE Cable and 3CX185sqmm, 3cx240sqmm, 3cx400sqmm XLPE cable | CE/Infra-II/Vendor/629/14012dtd 7.6.2017
131 | M/s Torrent Power Ltd | 3CX300sqmm 22KV XLPE cable | CE/Infra-II/Vendor/13905dtd 6.6.2017
132 | M/s Satraj ceramics | 11KV 70KN (B & S) type insulator and 11KV &33KV composite polymeric insulators | CE/Infra-II/Vendor/630/14013dtd 7.6.2017
133

## Infra.II
Sr.No | Name | item | Approval No.
1 | M/s MSP steel & Power Ltd | RSJ Pole 116mmX100mm, 125mmX70mm,175mmX85mm | CE/Infra-II/Vendor16175dtd1.7.2017
2 | M/sMahati Industries Pvt Ltd | 5MVA 22/11 Power Transformer | CE/Infra-II/Vendor13954dtd6.6.2017
3 | M/s Stelmec Ltd | 33KV C& R panel Indoor type for transformer with differential protection woth trivector meter | CE/Infra-II/Vendor719/15106dtd20.6.2017
4 | M/s Stelmec Ltd | 33KV C& R panel Indoor type for feeder protection with trivector meter | CE/Infra-II/Vendor718/15105 dtd20.6.2017
5 | M/s Stelmec Ltd | 33KV C& R panel Indoor type for transformer without differential protection woth trivector meter | CE/Infra-II/Vendor14939/717dtd206.2017
6 | M/s Stelmec Ltd | 11KV C&R panel feeder & incomer protection & 11KV Common indoor indication panel | CE/Infra-II/Vendor872/16915dtd12.7.2017
7 | M/s Bharat Electrical contractor & manufacturers Pvt Ltd | 11KV & 22KV 400Amp A.B. with Polymer insulators | CE/Infra-II/Vendor17054dtd13.7.2017
8 | M/s Universal cables ltd | 11KV 3.0MVar,2.4MVar,1.2Mvar capacitor Bank | CE/Infra-II/Vendor879/17026 dtd13.7.2017
9 | M/s Ravin Cables Ltd | 3CX95, 3CX240sqmm, 11KV | CE/Infra-II/Vendor917/17657 dtd 19.7.2017
10 | M/s Amity Power Products Pvt Ltd | 11KV outdoor resinn cast CT & PT , 33KV KV outdoor oil colled CT & PT | CE/Infra-II/Vendor904/17523 dtd 18.7.2017
11 | M/s Pragati Electrical Pvt Ltd | 33KV Outdoor oil colled CT & PT | CE/Infra-II/Vendor893/17281 dtd 15.7.2017
12 | M/s Ashida Electronics Pvt Ltd | 33KV C& R panel Indoor type for transformer with differential protection woth trivector meter | CE/Infra-II/Vendor/19601dtd 27.07.2017
13 | M/s Ashida Electronics Pvt Ltd | 33KV C& R panel Indoor type for feeder protection with trivector meter | CE/Infra-II/Vendor/18597 dtd 27.07.2017
14 | M/s Ashida Electronics Pvt Ltd | 33KV C& R panel Indoor type for transformer without differential protection woth trivector meter | CE/Infra-II/Vendor/18599 dtd 27.07.2017
15 | M/s Ashida Electronics Pvt Ltd | 22KV C& R panel Indoor type for transformer with differential protection woth trivector meter | CE/Infra-II/Vendor/18596 dtd 27.07.2017
16 | M/s Ashida Electronics Pvt Ltd | 22KV C& R panel Indoor type for feeder protection with trivector meter | CE/Infra-II/Vendor/18595 dtd 27.07.2017
17 | M/s Ashida Electronics Pvt Ltd | 22KV C& R panel Indoor type for transformer without differential protection woth trivector meter | CE/Infra-II/Vendor/18598 dtd 27.07.2017
18 | M/s Ashida Electronics Pvt Ltd | 11KV C& R panel Indoor type for feeder protection with trivector meter | CE/Infra-II/Vendor/19600 dtd 27.07.2017
19 | M/s Goenka Switchgears Pvt Ltd | 63KVA, 100KVA &200KVA LTDB with MCCB | CE/Infra-II/Vendor/10965dtd 11.05.2017
20 | M/s Saraswati wire & cable Industries | 19C X 2.5 sq.mm,12C X 2.5 sq.mm,10C X 2.5 sq.mm,7C X 2.5 sq.mm,4C X 2.5 sq.mm, 2C X 2.5 sq.mm, PVC, armoured, Copper control cables. 4C X 4 sq.mm, LT PVC power cable, 3.5C X 70 sq.mm 3.5C X 95 sq.mm, 3.5C X 120 sq.mm 3.5C X 185 sq.mm, 3.5C X 240 sq.mm3.5C X 300 sq.mm LT XLPE cable, 1C X 70 sq.mm,1C X 120 sq. single core LT XLPE , aluminum , armoured cables and 4CX 16sqmm, 4CX10sqmm LT PVC Power cable | CE/infra /vendor/1155/21941 dtd 11.9.2017 & CE/infra /vendor/23754 dtd 27.9.2017
21 | M/s AKS automation and Pressing Pvt Ltd | 100KVA LTDB with KIKAT & MCCB | CE/Infra-II/Vendor/23257 dtd 25.9.2017 & CE/Infra-II/Vendor/23258 dtd 25.9.2017
22 | M/s Pragati Multi services | 8Mtr 140Kg, 9Mtr/200Kg PSC pole | CE/Infraplan/vendors/1227/023407 dtd26.9.2017
23 | M/s Zenium Cables Ltd | 1CX300sqmm LT XLPE cable | CE/Infraplan/vendors/23480 dtd 26.7.2017
24 | M/s SAN Electricals | LTDB 100KVA with MCCB & KITKAT | CE/Infraplan/vendors/24910 dtd 11.10.2017 & CE/Infraplan/vendors/24909 dtd 11.10.2017
25 | M/s CG Power and industrial solutions ltd | 36KV &24KV, 1250amps 25KA semi gas insulated siwtchgear | CE/Infra-II/Vendor/1466/27195 dtd 7.11.2017
26 | M/s Garg cables & silicones Pvt Ltd | 11KV & 33KV composite Polymer insulators | CE/Infra-II/Vendor/26784 dtd 2.11.2017
27 | M/s Grid India Power cables Pvt Ltdf | 4CX2.5sqmm, 2CX2.5sqmm LT PVC Control cable, 3.5CX185sqmm, 3.5CX70sqmm, 1CX185sqmm, 1CX120 sqmm LT XLPE cable, 1CX70sqmm 1cx120 sqmm, 1CX70sqmmunarmoured | CE/Infra-Ii/Vendor/1627/29300 dtd 30.11.2017